Project

Smart Industrial Equipment Monitoring System (SIEMS)

Document Information

- Report ID: PTR-2026-001

- Version: 1.0

- Prepared By: R&D Testing Team

- Date: 15-Apr-2026

- Status: Approved

1. Objective

Evaluate the functionality, reliability, and performance of the SIEMS prototype under simulated industrial operating conditions.

2. Test Environment

| Parameter | Value |
| --- | --- |
| Test Duration | 30 Days |
| Temperature Range | -20°C to 70°C |
| Humidity | 20%–90% RH |
| Test Devices | 50 |
| Sensor Types | Temperature, Vibration, Humidity |

3. Test Scenarios

- Continuous operation (24×7)

- Network interruption

- High-temperature exposure

- Power failure simulation

- Sensor calibration validation

- Dashboard performance testing

4. Test Results

| Test Case | Expected Result | Actual Result | Status |
| --- | --- | --- | --- |
| Data Collection | Every 5 sec | Every 5 sec | Pass |
| Alert Generation | <10 sec | 8 sec | Pass |
| Dashboard Response | <2 sec | 1.4 sec | Pass |
| Cloud Synchronization | Successful | Successful | Pass |
| Sensor Accuracy | ±0.5°C | ±0.4°C | Pass |

5. Performance Metrics

- System Availability: 99.92%

- Data Collection Accuracy: 99.7%

- Alert Accuracy: 98.6%

- False Alarm Rate: 1.5%

- Average CPU Utilization: 42%

6. Issues Identified

- Minor dashboard delay during peak load.

- Two sensors required recalibration after continuous testing.

- Increased CPU utilization during AI model retraining.

7. Recommendations

- Optimize dashboard API calls.

- Introduce automatic sensor calibration.

- Increase edge gateway memory.

- Implement predictive health monitoring for sensors.

8. Conclusion

The prototype met all critical functional and performance requirements and is recommended for pilot deployment in a manufacturing environment.